## Sheet1
EMC or Antenna Test Chamber Requirements Questionnaire
EMC Test Chamber
# | Requirement Question | Input or Value
Company
Company Address
Contact Name
Contact Email
Contact Phone Number
Estimated project required delivery timeframe
Main Chamber
EMC? | Do you need a quote on an EMC Test Chamber?
1 | Parent room inside dimensions (L x W x H)
2 | Frequency range of operation (Min. to Max.)
3 | Shielding effectiveness of chamber (dB)
4 | Max Dimension of DUT (L x W x H) (units)
5 | Quiet zone size (diameter in meters)
6 | Test distance (meters)
7 | Test Standards compatibility (ANSI C63.4, CISPR 22, etc.)
8 | Power requirement for DUT (Hz, Phases, Amperage)
9 | Absorber type(Polyurethane, Polypropylene, Ferrite, etc.)
10 | Required reflectivity of absorber (dB)
11 | Power filters
12 | Signal filters
13 | RF shielded door size (Door 1)
14 | RF shielded door size (Door 2)
15 | Raised floor height (units)
16 | Raised floor load capacity
17 | Turntable size and load capacity
18 | Antenna mast height and load capacity
19 | Test table size (diameter, units)
20 | No of Connector panels
21 | Type of Connectors required and quantity
22 | Honeycomb vent size and quantity
23 | Lights (LED, Incandescent)
24 | Camera
25 | Pipe penetration
26 | Seismic zone requirement (Yes or No)
27 | Fire detection system
28 | Additional requirement
Control Room
CR? | Do you need a quote for a shielded control room?
CR1 | Inside shield to shield dimension (L x W x H)
CR2 | RF shielded door size (W x H) (units)
CR3 | Raised floor height
CR4 | Raised floor load capacity
CR5 | No of Connector panels
CR6 | Type of Connectors required and quantity
CR7 | Honeycomb vent size and quantity
CR8 | Lights
CR9 | Camera
CR10 | Pipe penetration
CR11 | Fire detection system
CR12 | Additional requirement
Amplifier Room
AR? | Do you need a quote for a shielded amplifier room?
AR1 | Inside shield to shield dimension(L x W x H)
AR2 | RF shielded door size (W x H) (units)
AR3 | Raised floor height
AR4 | Raised floor load capacity
AR5 | No of Connector panels
AR6 | Type of Connectors required and quantity
AR7 | Honeycomb vent size and quantity
AR8 | Lights
AR9 | Camera
AR10 | Pipe penetration
AR11 | Fire detection system
AR12 | Additional requirement
Antenna Test Chamber
# | Requirement Question | Input or Value
AT? | Do you need a quote for an antenna test chamber?
AT1 | Test range type(NF/FF/OTA/MIMO/Compact range)
AT2 | Antenna positioner (single/multi axis) details
AT3 | Positioner Resolution
AT4 | Frequency range of operation
AT5 | Tx positioner Manual/Automated
AT6 | AUT dimension (L x W x H) (units)
AT7 | AUT weight
AT8 | Parameters to be tested
AT9 | Calibrated horn antenna features
AT10 | Key software features
AT11 | Additional details about antennas to be tested
AT12 | Additional requirement for Antenna positioner if any
AT13 | Chamber inside shield to shield dimension(L x W x H)
AT14 | Shielding effectiveness of chamber
AT15 | Power requirement for AUT
AT16 | Absorber type(Polyurethane/Polypropylene)
AT17 | Required reflectivity of absorber
AT18 | Power filters
AT19 | Signal filters
AT20 | RF shielded door size (Door 1)
AT21 | RF shielded door size (Door 2)
AT22 | Raised floor height
AT23 | Raised floor load capacity
AT24 | No of Connector panels
AT25 | Type of Connectors required and quantity
AT26 | Honeycomb vent size and quantity
AT27 | Lights
AT28 | Camera
AT29 | Pipe penetration
AT30 | Seismic zone requirement (Yes or No)
AT31 | Fire detection system
AT32 | Additional requirement